## Slide 1: Medical Wristband Body Temperature Monitor
EERI474 – Conceptual Design Presentation
JH van Dyk
30254906

## Slide 2: This presentation will cover
The design concept.
A functional analysis of the system.
An architectural synthesis of the system.
The scope of the design.
Resources needed to realise the design.
Possible stumbling blocks.
https://pi.tedcdn.com/r/talkstar-assets.s3.amazonaws.com/production/playlists/playlist_127/6459afd3-4c02-41c4-8d97-1417ab709d38/design_legend_FB.jpg?quality=89&w=800

## Slide 3: Functional Analysis
System life cycle

## Slide 4: Functional Analysis – Operate system

## Slide 5: Functional Analysis – Measuring and Processing

## Slide 6: Functional Analysis – Display output

## Slide 7: Functional Analysis – Configure device

## Slide 8: Functional Analysis – Maintain System

## Slide 9: Architectural Synthesis
System architecture

## Slide 10: Architectural Synthesis
Physical Architecture

## Slide 11: Resources needed
Microcontroller
  8bit, 16bit
Display
  7 segment, LCD
User input
  Button
Power supply – battery
  Either rechargeable or non-rechargeable
Temperature probe
  Thermistor, RTD, Infrared

## Slide 12: Scope of the design

## Slide 13: Possible stumbling blocks
Body temperature reading from surface temperature reading.
  Environment temperature will influence the measured surface (skin) temperature.
Size of the designed product.
  Size of the final product must be relatively small.
Energy usage.
  Battery operated; energy usage will influence battery life.
https://microgridknowledge.com/wp-content/uploads/2018/05/stumbling-block-72.jpg